## sheet_name
Reading Date | Supply temperature | Extract temperature | Outdoor temperature | WT | Panel temperature 1 | Panel temperature 2 | Panel humidity RH 1 | Panel humidity RH 2 | Supply fan | Exhaust fan | SP | EP | SFI | EFI | S1 | S2 | Heat exchanger | WC | Electric heater | DX | Air dampers | Filter clogging | Energy saving | OH | Indoor humidity AH | Ventilation level i2 | Active hours i2 | Next Away | Ventilation level i | Supply temperature | Extract temperature | Outdoor temperature | SP | SAF | EAF | SAFS | EAFS | Filter clogging | Heat exchanger efficiency | Heat recovery | Power consumption | Heating power | Specific power Acutal | Specific power Day | Consumed energy Day | Consumed energy Month | Consumed energy Total | Heating energy Day | Heating energy Month | Heating energy Total | Recovered energy Day | Recovered energy Month | Recovered energy Total | ST | ET | AQS | AQ | AHS | AH | VF
2022-01-10 | 10.5 °C | 23.0 °C | -7.0 °C | **.* °C | 23.7 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 27 % | 74 % | #.## g/m³ | 8.77 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 10.3 °C | 23.1 °C | -6.8 °C | 50 | 50 % | 50 % | 50 % | 50 % | 27 % | 89 % | 1446 W | 537 W | 500 W | 0.23 | 0.26 | 7.40 kWh | 270.50 kWh | 2620.14 kWh | 6.79 kWh | 248.27 kWh | 2075.47 kWh | 18.91 kWh | 660.88 kWh | 8110.85 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 144982044
2022-01-12 | 17.0 °C | 24.9 °C | 1.6 °C | **.* °C | 24.2 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 29 % | 69 % | #.## g/m³ | 9.89 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.0 °C | 24.7 °C | 1.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 89 % | 1105 W | 538 W | 500 W | 0.23 | 0.26 | 6.93 kWh | 280.84 kWh | 2641.36 kWh | 6.35 kWh | 258.68 kWh | 2095.25 kWh | 17.05 kWh | 667.73 kWh | 8159.23 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 146030620
2022-01-12 19:02:23 | 17.2 °C | 24.9 °C | 1.7 °C | **.* °C | 24.2 °C | **.* °C | 44 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 29 % | 68 % | #.## g/m³ | 9.68 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.2 °C | 25.0 °C | 1.8 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 89 % | 1121 W | 538 W | 500 W | 0.23 | 0.26 | 7.11 kWh | 281.02 kWh | 2641.54 kWh | 6.52 kWh | 258.85 kWh | 2095.42 kWh | 17.42 kWh | 668.10 kWh | 8159.60 kWh | 19.0 °C | --.- °C | --.- % | 44 % | --.- % | 44 % | 146030620
2022-01-13 18:21:17 | 18.9 °C | 24.9 °C | 5.5 °C | **.* °C | 23.7 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 75 % | 0 % | 100 % | 29 % | 71 % | #.## g/m³ | 9.61 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.0 °C | 24.9 °C | 5.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 29 % | 88 % | 929 W | 405 W | 369 W | 0.23 | 0.25 | 4.46 kWh | 281.66 kWh | 2647.90 kWh | 3.90 kWh | 259.53 kWh | 2101.07 kWh | 11.59 kWh | 663.69 kWh | 8175.05 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 144982044
2022-01-14 11:30:27 | 17.6 °C | 24.0 °C | 3.1 °C | **.* °C | 23.8 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.02 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.3 °C | 24.0 °C | 3.2 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 987 W | 537 W | 500 W | 0.23 | 0.27 | 2.82 kWh | 281.37 kWh | 2652.40 kWh | 2.52 kWh | 259.50 kWh | 2105.08 kWh | 6.01 kWh | 655.87 kWh | 8184.90 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 146030620
2022-01-14 11:32:02 | 17.5 °C | 23.9 °C | 3.2 °C | **.* °C | 23.8 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.02 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 24.0 °C | 3.3 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 993 W | 537 W | 500 W | 0.23 | 0.27 | 2.84 kWh | 281.38 kWh | 2652.41 kWh | 2.53 kWh | 259.51 kWh | 2105.09 kWh | 6.03 kWh | 655.90 kWh | 8184.92 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 144982044
2022-01-14 15:33:23 | 17.4 °C | 24.2 °C | 2.8 °C | **.* °C | 24.1 °C | **.* °C | 45 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.84 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 24.2 °C | 2.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 1025 W | 537 W | 500 W | 0.23 | 0.26 | 4.90 kWh | 283.44 kWh | 2654.48 kWh | 4.45 kWh | 261.43 kWh | 2107.01 kWh | 10.00 kWh | 659.87 kWh | 8188.89 kWh | 19.0 °C | --.- °C | --.- % | 45 % | --.- % | 45 % | 144982044
2022-01-14 17:51:16 | 17.6 °C | 23.9 °C | 2.8 °C | **.* °C | 24.0 °C | **.* °C | 44 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 66 % | #.## g/m³ | 9.56 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.6 °C | 23.8 °C | 2.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 88 % | 1009 W | 538 W | 500 W | 0.23 | 0.26 | 6.14 kWh | 284.68 kWh | 2655.71 kWh | 5.60 kWh | 262.58 kWh | 2108.16 kWh | 12.35 kWh | 662.22 kWh | 8191.24 kWh | 19.0 °C | --.- °C | --.- % | 44 % | --.- % | 44 % | 144982044
2022-01-15 10:43:35 | 17.9 °C | 24.6 °C | 3.4 °C | **.* °C | 23.3 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 67 % | #.## g/m³ | 8.77 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.9 °C | 24.7 °C | 3.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 89 % | 1019 W | 537 W | 500 W | 0.23 | 0.28 | 2.54 kWh | 285.52 kWh | 2660.74 kWh | 2.26 kWh | 263.69 kWh | 2112.71 kWh | 5.70 kWh | 655.87 kWh | 8201.72 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 144982044
2022-01-15 18:01:02 | 15.8 °C | 24.6 °C | 0.6 °C | **.* °C | 24.2 °C | **.* °C | 43 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 30 % | 69 % | #.## g/m³ | 9.46 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.9 °C | 24.4 °C | 0.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 30 % | 89 % | 1153 W | 538 W | 500 W | 0.23 | 0.26 | 5.98 kWh | 288.96 kWh | 2664.18 kWh | 5.43 kWh | 266.86 kWh | 2115.88 kWh | 12.98 kWh | 663.14 kWh | 8209.00 kWh | 19.0 °C | --.- °C | --.- % | 43 % | --.- % | 43 % | 144982044
2022-01-16 11:00:32 | 16.6 °C | 24.5 °C | 1.5 °C | **.* °C | 23.5 °C | **.* °C | 40 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 31 % | 68 % | #.## g/m³ | 8.44 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.7 °C | 24.5 °C | 1.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 31 % | 90 % | 1100 W | 537 W | 500 W | 0.22 | 0.28 | 2.87 kWh | 288.72 kWh | 2669.60 kWh | 2.58 kWh | 266.88 kWh | 2120.82 kWh | 6.47 kWh | 656.55 kWh | 8220.61 kWh | 19.0 °C | --.- °C | --.- % | 40 % | --.- % | 40 % | 144982044
2022-01-16 11:32:12 | 15.4 °C | 23.8 °C | 1.7 °C | **.* °C | 23.8 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 31 % | 68 % | #.## g/m³ | 8.81 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.6 °C | 23.9 °C | 1.8 °C | 50 | 50 % | 50 % | 50 % | 50 % | 31 % | 89 % | 1068 W | 537 W | 500 W | 0.23 | 0.27 | 3.15 kWh | 289.00 kWh | 2669.89 kWh | 2.84 kWh | 267.15 kWh | 2121.09 kWh | 7.04 kWh | 657.12 kWh | 8221.18 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 146030620
2022-01-16 11:41:32 | 15.4 °C | 23.8 °C | 2.0 °C | **.* °C | 23.9 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 31 % | 67 % | #.## g/m³ | 8.86 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.4 °C | 23.8 °C | 1.9 °C | 50 | 50 % | 50 % | 50 % | 50 % | 31 % | 89 % | 1057 W | 537 W | 500 W | 0.23 | 0.27 | 3.23 kWh | 289.08 kWh | 2669.97 kWh | 2.92 kWh | 267.23 kWh | 2121.16 kWh | 7.21 kWh | 657.29 kWh | 8221.34 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 146030620
2022-01-16 12:34:31 | 17.3 °C | 25.0 °C | 2.5 °C | **.* °C | 24.1 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 31 % | 68 % | #.## g/m³ | 9.18 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 25.1 °C | 2.3 °C | 50 | 50 % | 50 % | 50 % | 50 % | 31 % | 89 % | 1089 W | 537 W | 500 W | 0.23 | 0.27 | 3.71 kWh | 289.56 kWh | 2670.44 kWh | 3.36 kWh | 267.67 kWh | 2121.61 kWh | 8.17 kWh | 658.25 kWh | 8222.30 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 146030620
2022-01-16 12:40:56 | 17.3 °C | 25.0 °C | 2.5 °C | **.* °C | 24.1 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 31 % | 68 % | #.## g/m³ | 9.18 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 °C | 24.9 °C | 2.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 31 % | 89 % | 1084 W | 537 W | 500 W | 0.23 | 0.27 | 3.76 kWh | 289.61 kWh | 2670.50 kWh | 3.41 kWh | 267.72 kWh | 2121.66 kWh | 8.29 kWh | 658.37 kWh | 8222.42 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 146030620
2022-01-17 09:45:53 | 16.9 °C | 24.5 °C | 1.3 °C | **.* °C | 23.7 °C | **.* °C | 42 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 32 % | 68 % | #.## g/m³ | 8.97 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.0 °C | 24.5 °C | 1.5 °C | 50 | 50 % | 50 % | 50 % | 50 % | 32 % | 89 % | 1110 W | 537 W | 500 W | 0.23 | 0.28 | 2.14 kWh | 292.39 kWh | 2677.95 kWh | 1.90 kWh | 270.61 kWh | 2128.48 kWh | 4.88 kWh | 656.20 kWh | 8237.50 kWh | 19.0 °C | --.- °C | --.- % | 42 % | --.- % | 42 % | 144982044
2022-01-18 15:10:41 | 13.9 °C | 23.8 °C | -1.5 °C | **.* °C | 24.2 °C | **.* °C | 37 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 32 % | 71 % | #.## g/m³ | 8.14 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13.9 °C | 23.8 °C | -1.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 32 % | 90 % | 1233 W | 536 W | 500 W | 0.22 | 0.26 | 5.15 kWh | 297.83 kWh | 2690.30 kWh | 4.71 kWh | 275.86 kWh | 2139.89 kWh | 11.89 kWh | 663.67 kWh | 8264.42 kWh | 19.0 °C | --.- °C | --.- % | 37 % | --.- % | 37 % | 144982044
2022-01-18 18:01:30 | 14.7 °C | 23.6 °C | -0.2 °C | **.* °C | 24.2 °C | **.* °C | 43 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 32 % | 70 % | #.## g/m³ | 9.46 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.9 °C | 23.7 °C | -0.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 32 % | 90 % | 1169 W | 537 W | 500 W | 0.23 | 0.25 | 6.68 kWh | 299.36 kWh | 2691.82 kWh | 6.14 kWh | 277.29 kWh | 2141.31 kWh | 15.31 kWh | 667.10 kWh | 8267.84 kWh | 19.0 °C | --.- °C | --.- % | 43 % | --.- % | 43 % | 146030620
2022-01-19 16:16:03 | 18.5 °C | 24.9 °C | 4.5 °C | **.* °C | 24.2 °C | **.* °C | 40 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 33 % | 66 % | #.## g/m³ | 8.80 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.6 °C | 25.0 °C | 4.6 °C | 50 | 50 % | 50 % | 50 % | 50 % | 33 % | 89 % | 966 W | 537 W | 500 W | 0.23 | 0.26 | 5.41 kWh | 297.49 kWh | 2699.64 kWh | 4.92 kWh | 275.48 kWh | 2148.46 kWh | 11.39 kWh | 658.58 kWh | 8284.27 kWh | 19.0 °C | --.- °C | --.- % | 40 % | --.- % | 40 % | 144982044
2022-01-19 19:28:18 | 18.9 °C | 24.5 °C | 4.5 °C | **.* °C | 24.2 °C | **.* °C | 46 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 99 % | 0 % | 100 % | 33 % | 65 % | #.## g/m³ | 10.11 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.0 °C | 24.5 °C | 4.3 °C | 50 | 50 % | 50 % | 50 % | 50 % | 33 % | 88 % | 955 W | 533 W | 496 W | 0.23 | 0.25 | 7.13 kWh | 299.21 kWh | 2701.36 kWh | 6.53 kWh | 277.08 kWh | 2150.06 kWh | 14.47 kWh | 661.66 kWh | 8287.35 kWh | 19.0 °C | --.- °C | --.- % | 46 % | --.- % | 46 % | 146030620
2022-01-20 18:28:06 | 16.9 °C | 24.4 °C | 1.5 °C | **.* °C | 24.3 °C | **.* °C | 43 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 34 % | 68 % | #.## g/m³ | 9.51 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.8 °C | 24.3 °C | 1.4 °C | 50 | 50 % | 50 % | 50 % | 50 % | 34 % | 88 % | 1094 W | 537 W | 500 W | 0.23 | 0.25 | 7.02 kWh | 297.84 kWh | 2710.00 kWh | 6.46 kWh | 275.78 kWh | 2158.00 kWh | 14.55 kWh | 653.09 kWh | 8304.94 kWh | 19.0 °C | --.- °C | --.- % | 43 % | --.- % | 43 % | 146030620
2022-01-21 15:50:51 | 15.1 °C | 23.6 °C | -0.8 °C | **.* °C | 23.8 °C | **.* °C | 40 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 34 % | 70 % | #.## g/m³ | 8.60 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.1 °C | 23.7 °C | -0.5 °C | 50 | 50 % | 50 % | 50 % | 50 % | 34 % | 89 % | 1169 W | 536 W | 500 W | 0.22 | 0.26 | 5.37 kWh | 292.75 kWh | 2717.65 kWh | 4.91 kWh | 270.80 kWh | 2165.03 kWh | 12.27 kWh | 644.54 kWh | 8321.71 kWh | 19.0 °C | --.- °C | --.- % | 40 % | --.- % | 40 % | 146030620
2022-01-22 13:02:20 | 14.4 °C | 23.5 °C | -1.1 °C | **.* °C | 23.8 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 0 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 35 % | 70 % | #.## g/m³ | 8.81 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.4 °C | 23.6 °C | -1.0 °C | 50 | 50 % | 50 % | 50 % | 50 % | 35 % | 90 % | 1206 W | 537 W | 500 W | 0.23 | 0.27 | 3.95 kWh | 290.44 kWh | 2725.51 kWh | 3.59 kWh | 268.61 kWh | 2172.26 kWh | 9.43 kWh | 639.94 kWh | 8339.10 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 146030620
2022-01-23 10:26:16 | 13.0 °C | 23.6 °C | -2.8 °C | **.* °C | 24.0 °C | **.* °C | 41 % | **.* % | 50 % | 50 % | 0 mV | 5 mV | 50 % | 50 % | **.* mV | **.* mV | 100 % | 0 % | 100 % | 0 % | 100 % | 35 % | 71 % | #.## g/m³ | 8.92 g/m³ | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13.0 °C | 23.6 °C | -2.7 °C | 50 | 50 % | 50 % | 50 % | 50 % | 35 % | 90 % | 1276 W | 537 W | 500 W | 0.23 | 0.28 | 5.29 kWh | 292.13 kWh | 2736.66 kWh | 5.02 kWh | 270.41 kWh | 2182.77 kWh | 6.65 kWh | 632.49 kWh | 8357.57 kWh | 19.0 °C | --.- °C | --.- % | 41 % | --.- % | 41 % | 146030620