## sheet_name
Reading Date | Supply temperature - °C | Extract temperature Extract temperature - °C | Outdoor temperature - °C | WT | Panel temperature 1 - °C | Panel temperature 2 - °C | Panel humidity RH 1 - % | Panel humidity RH 2 - % | Supply fan - % | Exhaust fan - % | SP - mV | EP - mV | SFI - % | EFI - % | S1 - mV | S2 - mV | Heat exchanger - % | WC - % | Electric heater - % | DX - % | Air damper - %s | Filter clogging - % | Energy saving - % | OH - g/m³ | Indoor humidity AH - g/m³ | Ventilation level i2 | Active hours i2 | Next Away | Ventilation level i | Supply temperature - °C | Extract temperature - °C | Outdoor temperature - °C | SP - % | SAF - % | EAF - % | SAFS - % | EAFS - % | Filter clogging - % | Heat exchanger efficiency - % | Heat recovery - W | Power consumption - W | Heating power - W | Specific power Acutal | Specific power Day | Consumed energy Day - kWh | Consumed energy Month - kWh | Consumed energy Total - kWh | Heating energy Day - kWh | Heating energy Month - kWh | Heating energy Total - kWh | Recovered energy Day - kWh | Recovered energy Month - kWh | Recovered energy Total - kWh | ST - °C | ET - °C | AQS - % | AQ - % | AHS - % | AH - % | VF
2022-01-12 19:02:23 | 17 | 24.9 | 1.6 | **,* | 24.2 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 29 | 69 | #,## | 9.89 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17 | 24.7 | 1.7 | 50 | 50 | 50 | 50 | 50 | 29 | 89 | 1105 | 538 | 500 | 0.23 | 0.26 | 6.93 | 280.84 | 2641.36 | 6.35 | 258.68 | 2095.25 | 17.05 | 667.73 | 8159.23 | 19 | --,- | --,- | 45 | --,- | 45 | 146030620
2022-01-12 19:02:23 | 17.2 | 24.9 | 1.7 | **,* | 24.2 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 29 | 68 | #,## | 9.68 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.2 | 25 | 1.8 | 50 | 50 | 50 | 50 | 50 | 29 | 89 | 1121 | 538 | 500 | 0.23 | 0.26 | 7.11 | 281.02 | 2641.54 | 6.52 | 258.85 | 2095.42 | 17.42 | 668.1 | 8159.6 | 19 | --,- | --,- | 44 | --,- | 44 | 146030620
2022-01-13 18:21:17 | 18.9 | 24.9 | 5.5 | **,* | 23.7 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 75 | 0 | 100 | 29 | 71 | #,## | 9.61 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 24.9 | 5.4 | 50 | 50 | 50 | 50 | 50 | 29 | 88 | 929 | 405 | 369 | 0.23 | 0.25 | 4.46 | 281.66 | 2647.9 | 3.9 | 259.53 | 2101.07 | 11.59 | 663.69 | 8175.05 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-01-14 11:30:27 | 17.6 | 24 | 3.1 | **,* | 23.8 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 66 | #,## | 9.02 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.3 | 24 | 3.2 | 50 | 50 | 50 | 50 | 50 | 30 | 88 | 987 | 537 | 500 | 0.23 | 0.27 | 2.82 | 281.37 | 2652.4 | 2.52 | 259.5 | 2105.08 | 6.01 | 655.87 | 8184.9 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-01-14 11:32:02 | 17.5 | 23.9 | 3.2 | **,* | 23.8 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 66 | #,## | 9.02 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 24 | 3.3 | 50 | 50 | 50 | 50 | 50 | 30 | 88 | 993 | 537 | 500 | 0.23 | 0.27 | 2.84 | 281.38 | 2652.41 | 2.53 | 259.51 | 2105.09 | 6.03 | 655.9 | 8184.92 | 19 | --,- | --,- | 42 | --,- | 42 | 144982044
2022-01-14 15:33:23 | 17.4 | 24.2 | 2.8 | **,* | 24.1 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 66 | #,## | 9.84 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 24.2 | 2.7 | 50 | 50 | 50 | 50 | 50 | 30 | 88 | 1025 | 537 | 500 | 0.23 | 0.26 | 4.9 | 283.44 | 2654.48 | 4.45 | 261.43 | 2107.01 | 10 | 659.87 | 8188.89 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-01-14 17:51:16 | 17.6 | 23.9 | 2.8 | **,* | 24 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 66 | #,## | 9.56 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.6 | 23.8 | 2.7 | 50 | 50 | 50 | 50 | 50 | 30 | 88 | 1009 | 538 | 500 | 0.23 | 0.26 | 6.14 | 284.68 | 2655.71 | 5.6 | 262.58 | 2108.16 | 12.35 | 662.22 | 8191.24 | 19 | --,- | --,- | 44 | --,- | 44 | 144982044
2022-01-15 10:43:35 | 17.9 | 24.6 | 3.4 | **,* | 23.3 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 67 | #,## | 8.77 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.9 | 24.7 | 3.4 | 50 | 50 | 50 | 50 | 50 | 30 | 89 | 1019 | 537 | 500 | 0.23 | 0.28 | 2.54 | 285.52 | 2660.74 | 2.26 | 263.69 | 2112.71 | 5.7 | 655.87 | 8201.72 | 19 | --,- | --,- | 42 | --,- | 42 | 144982044
2022-01-15 18:01:02 | 15.8 | 24.6 | 0.6 | **,* | 24.2 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 30 | 69 | #,## | 9.46 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.9 | 24.4 | 0.7 | 50 | 50 | 50 | 50 | 50 | 30 | 89 | 1153 | 538 | 500 | 0.23 | 0.26 | 5.98 | 288.96 | 2664.18 | 5.43 | 266.86 | 2115.88 | 12.98 | 663.14 | 8209 | 19 | --,- | --,- | 43 | --,- | 43 | 144982044
2022-01-16 11:00:32 | 16.6 | 24.5 | 1.5 | **,* | 23.5 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 31 | 68 | #,## | 8.44 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.7 | 24.5 | 1.7 | 50 | 50 | 50 | 50 | 50 | 31 | 90 | 1100 | 537 | 500 | 0.22 | 0.28 | 2.87 | 288.72 | 2669.6 | 2.58 | 266.88 | 2120.82 | 6.47 | 656.55 | 8220.61 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-01-16 11:32:12 | 15.4 | 23.8 | 1.7 | **,* | 23.8 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 31 | 68 | #,## | 8.81 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.6 | 23.9 | 1.8 | 50 | 50 | 50 | 50 | 50 | 31 | 89 | 1068 | 537 | 500 | 0.23 | 0.27 | 3.15 | 289 | 2669.89 | 2.84 | 267.15 | 2121.09 | 7.04 | 657.12 | 8221.18 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-01-16 11:41:32 | 15.4 | 23.8 | 2 | **,* | 23.9 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 31 | 67 | #,## | 8.86 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.4 | 23.8 | 1.9 | 50 | 50 | 50 | 50 | 50 | 31 | 89 | 1057 | 537 | 500 | 0.23 | 0.27 | 3.23 | 289.08 | 2669.97 | 2.92 | 267.23 | 2121.16 | 7.21 | 657.29 | 8221.34 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-01-16 12:34:31 | 17.3 | 25 | 2.5 | **,* | 24.1 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 31 | 68 | #,## | 9.18 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 25.1 | 2.3 | 50 | 50 | 50 | 50 | 50 | 31 | 89 | 1089 | 537 | 500 | 0.23 | 0.27 | 3.71 | 289.56 | 2670.44 | 3.36 | 267.67 | 2121.61 | 8.17 | 658.25 | 8222.3 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-01-16 12:40:56 | 17.3 | 25 | 2.5 | **,* | 24.1 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 31 | 68 | #,## | 9.18 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 24.9 | 2.4 | 50 | 50 | 50 | 50 | 50 | 31 | 89 | 1084 | 537 | 500 | 0.23 | 0.27 | 3.76 | 289.61 | 2670.5 | 3.41 | 267.72 | 2121.66 | 8.29 | 658.37 | 8222.42 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-01-17 09:45:53 | 16.9 | 24.5 | 1.3 | **,* | 23.7 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 32 | 68 | #,## | 8.97 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17 | 24.5 | 1.5 | 50 | 50 | 50 | 50 | 50 | 32 | 89 | 1110 | 537 | 500 | 0.23 | 0.28 | 2.14 | 292.39 | 2677.95 | 1.9 | 270.61 | 2128.48 | 4.88 | 656.2 | 8237.5 | 19 | --,- | --,- | 42 | --,- | 42 | 144982044
2022-01-18 15:10:41 | 13.9 | 23.8 | -1.5 | **,* | 24.2 | **,* | 37 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 32 | 71 | #,## | 8.14 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13.9 | 23.8 | -1.7 | 50 | 50 | 50 | 50 | 50 | 32 | 90 | 1233 | 536 | 500 | 0.22 | 0.26 | 5.15 | 297.83 | 2690.3 | 4.71 | 275.86 | 2139.89 | 11.89 | 663.67 | 8264.42 | 19 | --,- | --,- | 37 | --,- | 37 | 144982044
2022-01-18 18:01:30 | 14.7 | 23.6 | -0.2 | **,* | 24.2 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 32 | 70 | #,## | 9.46 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.9 | 23.7 | -0.4 | 50 | 50 | 50 | 50 | 50 | 32 | 90 | 1169 | 537 | 500 | 0.23 | 0.25 | 6.68 | 299.36 | 2691.82 | 6.14 | 277.29 | 2141.31 | 15.31 | 667.1 | 8267.84 | 19 | --,- | --,- | 43 | --,- | 43 | 146030620
2022-01-19 16:16:03 | 18.5 | 24.9 | 4.5 | **,* | 24.2 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 33 | 66 | #,## | 8.8 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.6 | 25 | 4.6 | 50 | 50 | 50 | 50 | 50 | 33 | 89 | 966 | 537 | 500 | 0.23 | 0.26 | 5.41 | 297.49 | 2699.64 | 4.92 | 275.48 | 2148.46 | 11.39 | 658.58 | 8284.27 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-01-19 19:28:18 | 18.9 | 24.5 | 4.5 | **,* | 24.2 | **,* | 46 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 99 | 0 | 100 | 33 | 65 | #,## | 10.11 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 24.5 | 4.3 | 50 | 50 | 50 | 50 | 50 | 33 | 88 | 955 | 533 | 496 | 0.23 | 0.25 | 7.13 | 299.21 | 2701.36 | 6.53 | 277.08 | 2150.06 | 14.47 | 661.66 | 8287.35 | 19 | --,- | --,- | 46 | --,- | 46 | 146030620
2022-01-20 18:28:06 | 16.9 | 24.4 | 1.5 | **,* | 24.3 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 34 | 68 | #,## | 9.51 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.8 | 24.3 | 1.4 | 50 | 50 | 50 | 50 | 50 | 34 | 88 | 1094 | 537 | 500 | 0.23 | 0.25 | 7.02 | 297.84 | 2710 | 6.46 | 275.78 | 2158 | 14.55 | 653.09 | 8304.94 | 19 | --,- | --,- | 43 | --,- | 43 | 146030620
2022-01-21 15:50:51 | 15.1 | 23.6 | -0.8 | **,* | 23.8 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 34 | 70 | #,## | 8.6 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.1 | 23.7 | -0.5 | 50 | 50 | 50 | 50 | 50 | 34 | 89 | 1169 | 536 | 500 | 0.22 | 0.26 | 5.37 | 292.75 | 2717.65 | 4.91 | 270.8 | 2165.03 | 12.27 | 644.54 | 8321.71 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-01-22 13:02:20 | 14.4 | 23.5 | -1.1 | **,* | 23.8 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 35 | 70 | #,## | 8.81 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.4 | 23.6 | -1 | 50 | 50 | 50 | 50 | 50 | 35 | 90 | 1206 | 537 | 500 | 0.23 | 0.27 | 3.95 | 290.44 | 2725.51 | 3.59 | 268.61 | 2172.26 | 9.43 | 639.94 | 8339.1 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-01-23 10:26:16 | 13 | 23.6 | -2.8 | **,* | 24 | **,* | 41 | **,* | 50 | 50 | 0 | 5 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 35 | 71 | #,## | 8.92 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13 | 23.6 | -2.7 | 50 | 50 | 50 | 50 | 50 | 35 | 90 | 1276 | 537 | 500 | 0.23 | 0.28 | 5.29 | 292.13 | 2736.66 | 5.02 | 270.41 | 2182.77 | 6.65 | 632.49 | 8357.57 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-01-23 17:46:09 | 15.7 | 24.3 | 1.3 | **,* | 24 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 36 | 68 | #,## | 9.35 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.9 | 24.3 | 1.3 | 50 | 50 | 50 | 50 | 50 | 36 | 90 | 1116 | 537 | 500 | 0.23 | 0.26 | 9.23 | 296.07 | 2740.59 | 8.68 | 274.08 | 2186.44 | 15.32 | 641.15 | 8366.24 | 19 | --,- | --,- | 43 | --,- | 43 | 144982044
2022-01-24 15:59:49 | 17.7 | 24.2 | 3.5 | **,* | 24.1 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 36 | 66 | #,## | 8.75 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.6 | 24.3 | 3.5 | 50 | 50 | 50 | 50 | 50 | 36 | 89 | 982 | 537 | 500 | 0.23 | 0.26 | 5.6 | 291.73 | 2748.82 | 5.13 | 269.81 | 2193.99 | 11.06 | 631.8 | 8382.45 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-01-24 16:01:56 | 17.5 | 24.1 | 3.4 | **,* | 24.2 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 36 | 66 | #,## | 8.8 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 24 | 3.5 | 50 | 50 | 50 | 50 | 50 | 36 | 89 | 987 | 537 | 500 | 0.22 | 0.26 | 5.62 | 291.75 | 2748.84 | 5.15 | 269.82 | 2194.01 | 11.09 | 631.84 | 8382.48 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-01-25 18:21:29 | 14.5 | 23.6 | -0.7 | **,* | 23.9 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 37 | 69 | #,## | 8.22 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.5 | 23.6 | -0.5 | 50 | 50 | 50 | 50 | 50 | 37 | 89 | 1169 | 537 | 500 | 0.23 | 0.25 | 6.24 | 289.25 | 2758.54 | 5.68 | 267.25 | 2202.89 | 13.16 | 624.88 | 8401.95 | 19 | --,- | --,- | 38 | --,- | 38 | 146030620
2022-01-26 17:39:50 | 15 | 23.8 | 0.7 | **,* | 24.7 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 38 | 69 | #,## | 9.05 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.1 | 23.7 | 0.7 | 50 | 50 | 50 | 50 | 50 | 38 | 91 | 1132 | 537 | 500 | 0.23 | 0.26 | 9.02 | 291.36 | 2770.51 | 8.48 | 269.38 | 2214.14 | 15.21 | 621.19 | 8422.06 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-01-27 16:24:17 | 16.2 | 23.8 | 1.9 | **,* | 23.7 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 38 | 68 | #,## | 8.77 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.3 | 23.9 | 1.9 | 50 | 50 | 50 | 50 | 50 | 38 | 89 | 1052 | 536 | 500 | 0.22 | 0.26 | 5.75 | 287.13 | 2779.01 | 5.26 | 265.21 | 2221.95 | 11.9 | 614.7 | 8439.5 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-01-28 17:44:05 | 15.6 | 23.7 | 0.6 | **,* | 23.9 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 39 | 69 | #,## | 9.52 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.6 | 23.6 | 0.7 | 50 | 50 | 50 | 50 | 50 | 39 | 89 | 1116 | 537 | 500 | 0.23 | 0.26 | 6.38 | 285.02 | 2788.75 | 5.85 | 263.07 | 2230.91 | 13.6 | 609.35 | 8459.64 | 19 | --,- | --,- | 44 | --,- | 44 | 144982044
2022-01-29 11:36:06 | 14.6 | 24.1 | -0.7 | **,* | 23.8 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 39 | 70 | #,## | 8.39 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.5 | 24.1 | -0.5 | 50 | 50 | 50 | 50 | 50 | 39 | 91 | 1222 | 537 | 500 | 0.23 | 0.27 | 4.49 | 282.84 | 2796.12 | 4.18 | 261.13 | 2237.77 | 8.16 | 597.87 | 8473.25 | 19 | --,- | --,- | 39 | --,- | 39 | 146030620
2022-01-30 09:46:43 | 17.9 | 24.7 | 1.9 | **,* | 24.6 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 40 | 68 | #,## | 9 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.8 | 24.7 | 2 | 50 | 50 | 50 | 50 | 50 | 40 | 88 | 1089 | 536 | 500 | 0.22 | 0.28 | 2.55 | 282.47 | 2804.8 | 2.31 | 260.83 | 2245.78 | 5.13 | 595.39 | 8490.94 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-01-31 18:00:59 | 13.5 | 23.9 | -2.5 | **,* | 23.9 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 41 | 71 | #,## | 9.07 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13.6 | 23.9 | -2.6 | 50 | 50 | 50 | 50 | 50 | 41 | 89 | 1265 | 536 | 500 | 0.22 | 0.25 | 6.64 | 286.55 | 2818.67 | 6.1 | 264.62 | 2258.62 | 15.67 | 603.46 | 8520.96 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-02-01 17:50:00 | 12.5 | 22.8 | -3.3 | **,* | 23.6 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 41 | 71 | #,## | 8.5 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 12.5 | 22.8 | -3.2 | 50 | 50 | 50 | 50 | 50 | 41 | 89 | 1238 | 536 | 500 | 0.22 | 0.26 | 9.43 | 287.31 | 2831.29 | 8.89 | 265.41 | 2270.51 | 15.68 | 600.44 | 8542.27 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-02-04 16:17:41 | 11.2 | 22 | -3.4 | **,* | 24.2 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 43 | 71 | #,## | 8.57 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 11.2 | 21.9 | -3.5 | 50 | 50 | 50 | 50 | 50 | 43 | 91 | 1238 | 538 | 500 | 0.23 | 0.26 | 8.62 | 297.49 | 2868.67 | 8.13 | 275.66 | 2305.74 | 14.38 | 604.78 | 8606.84 | 19 | --,- | --,- | 39 | --,- | 39 | 144982044
2022-02-05 10:35:40 | 15.3 | 24 | 0.7 | **,* | 24.3 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 44 | 69 | #,## | 7.96 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.3 | 24.1 | 0.6 | 50 | 50 | 50 | 50 | 50 | 44 | 91 | 1148 | 538 | 500 | 0.23 | 0.28 | 4.93 | 297.24 | 2877.72 | 4.66 | 275.62 | 2314.27 | 6.69 | 597.3 | 8621.34 | 19 | --,- | --,- | 36 | --,- | 36 | 144982044
2022-02-06 12:26:58 | 15.8 | 23.5 | 2.1 | **,* | 24.3 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 44 | 67 | #,## | 9.51 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 15.9 | 23.5 | 2 | 50 | 50 | 50 | 50 | 50 | 44 | 90 | 1030 | 537 | 500 | 0.23 | 0.27 | 3.66 | 297.54 | 2887.88 | 3.32 | 275.86 | 2323.62 | 7.54 | 594.36 | 8641.74 | 19 | --,- | --,- | 43 | --,- | 43 | 144982044
2022-02-07 16:47:42 | 16 | 24.3 | 1.5 | **,* | 24 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 45 | 68 | #,## | 8.69 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.1 | 24.2 | 1.6 | 50 | 50 | 50 | 50 | 50 | 45 | 88 | 1084 | 537 | 500 | 0.23 | 0.25 | 6.02 | 296.35 | 2899.4 | 5.52 | 274.53 | 2334.25 | 12.06 | 592.6 | 8664.27 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-02-11 16:32:54 | 16.3 | 24.5 | 1.6 | **,* | 23.9 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 48 | 68 | #,## | 8.64 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.3 | 24.5 | 1.5 | 50 | 50 | 50 | 50 | 50 | 48 | 89 | 1105 | 537 | 500 | 0.23 | 0.26 | 5.83 | 291.88 | 2935.32 | 5.33 | 270.08 | 2367.25 | 12.18 | 574.23 | 8737.69 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-02-12 11:09:50 | 17.1 | 24.2 | 2.5 | **,* | 23.5 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 48 | 67 | #,## | 8.23 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.2 | 24.2 | 2.5 | 50 | 50 | 50 | 50 | 50 | 48 | 90 | 1041 | 537 | 500 | 0.23 | 0.27 | 3.07 | 292.21 | 2941.79 | 2.78 | 270.61 | 2373.17 | 7.09 | 572.79 | 8751.68 | 19 | --,- | --,- | 39 | --,- | 39 | 146030620
2022-02-13 13:42:39 | 17.5 | 23.8 | 3.3 | **,* | 24.3 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 49 | 66 | #,## | 8.85 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 23.8 | 3.4 | 50 | 50 | 50 | 50 | 50 | 49 | 89 | 998 | 538 | 500 | 0.23 | 0.27 | 4.3 | 293.97 | 2952.17 | 3.91 | 272.27 | 2382.72 | 8.59 | 575.75 | 8771.77 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-02-15 12:58:51 | 16.8 | 23.2 | 3.3 | **,* | 24 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 50 | 65 | #,## | 9.35 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.8 | 23.4 | 3.3 | 50 | 50 | 50 | 50 | 50 | 50 | 89 | 961 | 536 | 500 | 0.22 | 0.27 | 3.95 | 294.06 | 2969.86 | 3.59 | 272.4 | 2398.98 | 7.64 | 573.02 | 8805.64 | 19 | --,- | --,- | 43 | --,- | 43 | 144982044
2022-02-16 14:35:42 | 17.5 | 23.7 | 4 | **,* | 24 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 51 | 65 | #,## | 8.69 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.5 | 23.7 | 4 | 50 | 50 | 50 | 50 | 50 | 51 | 89 | 950 | 537 | 500 | 0.23 | 0.26 | 4.78 | 294.68 | 2979.82 | 4.36 | 272.96 | 2408.14 | 9.3 | 571.8 | 8824.33 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-02-16 14:41:20 | 17.5 | 23.6 | 4 | **,* | 24 | **,* | 40 | **,* | 50 | 50 | 0 | 5 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 51 | 65 | #,## | 8.69 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 23.5 | 4 | 50 | 50 | 50 | 50 | 50 | 51 | 89 | 945 | 538 | 500 | 0.23 | 0.26 | 4.83 | 294.73 | 2979.87 | 4.41 | 273.01 | 2408.19 | 9.39 | 571.89 | 8824.42 | 19 | --,- | --,- | 40 | --,- | 40 | 144982044
2022-02-16 16:58:12 | 16.7 | 23.4 | 3.2 | **,* | 24.1 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 51 | 65 | #,## | 8.75 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.8 | 23.2 | 3.2 | 50 | 50 | 50 | 50 | 50 | 51 | 89 | 966 | 536 | 500 | 0.22 | 0.26 | 6.05 | 295.95 | 2981.09 | 5.55 | 274.15 | 2409.32 | 11.61 | 574.11 | 8826.64 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-02-17 09:49:41 | 18.9 | 24.1 | 4.6 | **,* | 23.9 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 51 | 65 | #,## | 9.07 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.8 | 24.1 | 4.7 | 50 | 50 | 50 | 50 | 50 | 51 | 88 | 929 | 537 | 500 | 0.23 | 0.28 | 2.24 | 292.12 | 2986.35 | 2 | 270.58 | 2414.12 | 4.5 | 563.69 | 8836.57 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-02-17 11:55:42 | 18.8 | 24.7 | 4.7 | **,* | 24.7 | **,* | 46 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 52 | 65 | #,## | 10.4 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.7 | 24.7 | 4.7 | 50 | 50 | 50 | 50 | 50 | 52 | 88 | 939 | 536 | 500 | 0.21 | 0.27 | 3.37 | 293.25 | 2987.48 | 3.05 | 271.63 | 2415.17 | 6.41 | 565.61 | 8838.49 | 19 | --,- | --,- | 46 | --,- | 46 | 144982044
2022-02-18 15:20:00 | 17 | 23.2 | 2.7 | **,* | 24.2 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 52 | 66 | #,## | 9.68 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.9 | 23.2 | 2.8 | 50 | 50 | 50 | 50 | 50 | 52 | 87 | 966 | 536 | 500 | 0.22 | 0.26 | 5.01 | 295.19 | 2998.17 | 4.57 | 273.47 | 2425.01 | 10.09 | 568.17 | 8858.56 | 19 | --,- | --,- | 44 | --,- | 44 | 146030620
2022-02-19 08:50:10 | 17.7 | 24 | 1.5 | **,* | 23.8 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 53 | 68 | #,## | 9.02 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.6 | 24.1 | 1.5 | 50 | 50 | 50 | 50 | 50 | 53 | 88 | 1089 | 536 | 500 | 0.21 | 0.29 | 1.8 | 291.65 | 3003.93 | 1.59 | 270.17 | 2430.29 | 3.75 | 560.17 | 8869.61 | 19 | --,- | --,- | 42 | --,- | 42 | 144982044
2022-02-20 14:51:20 | 19.2 | 24.8 | 3.5 | **,* | 24.2 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 58 | 0 | 100 | 54 | 77 | #,## | 9.89 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 24.8 | 3.6 | 50 | 50 | 50 | 50 | 50 | 54 | 89 | 1003 | 326 | 289 | 0.23 | 0.26 | 2.91 | 292.03 | 3013.59 | 2.47 | 270.32 | 2439 | 11.74 | 566.8 | 8896.48 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-02-20 15:18:02 | 18.9 | 25.4 | 3.8 | **,* | 24.2 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 57 | 0 | 100 | 54 | 78 | #,## | 9.89 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 25.4 | 3.8 | 50 | 50 | 50 | 50 | 50 | 54 | 89 | 1041 | 327 | 291 | 0.22 | 0.26 | 3.05 | 292.17 | 3013.73 | 2.6 | 270.45 | 2439.12 | 12.18 | 567.25 | 8896.93 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-02-20 16:12:16 | 18.7 | 24.6 | 2.9 | **,* | 23.9 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 78 | 0 | 100 | 54 | 72 | #,## | 9.52 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.5 | 24.6 | 2.9 | 50 | 50 | 50 | 50 | 50 | 54 | 89 | 1046 | 440 | 404 | 0.22 | 0.26 | 3.37 | 292.49 | 3014.05 | 2.89 | 270.74 | 2439.41 | 13.13 | 568.2 | 8897.88 | 19 | --,- | --,- | 44 | --,- | 44 | 146030620
2022-02-21 17:00:51 | 17.8 | 25.2 | 1.5 | **,* | 24.2 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 54 | 69 | #,## | 9.46 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.8 | 25.2 | 1.6 | 50 | 50 | 50 | 50 | 50 | 54 | 90 | 1142 | 536 | 500 | 0.23 | 0.26 | 6.19 | 292.28 | 3023.65 | 5.68 | 270.49 | 2448.24 | 14.24 | 568.32 | 8919.24 | 19 | --,- | --,- | 43 | --,- | 43 | 146030620
2022-02-23 14:27:45 | 17 | 24.4 | -0.4 | **,* | 24.4 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 56 | 70 | #,## | 10.01 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.2 | 24.2 | -0.4 | 50 | 50 | 50 | 50 | 50 | 56 | 90 | 1196 | 538 | 500 | 0.23 | 0.26 | 4.66 | 287.54 | 3039.84 | 4.24 | 265.85 | 2463.06 | 12.61 | 569.76 | 8958.54 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-02-24 10:25:58 | 18.5 | 24.3 | 3.8 | **,* | 23.8 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 56 | 66 | #,## | 8.6 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.5 | 24.4 | 3.7 | 50 | 50 | 50 | 50 | 50 | 56 | 91 | 1003 | 537 | 500 | 0.23 | 0.28 | 2.9 | 285.79 | 3047.28 | 2.63 | 264.25 | 2469.91 | 6.1 | 567.77 | 8974.62 | 19 | --,- | --,- | 40 | --,- | 40 | 146030620
2022-02-24 17:57:09 | 18.7 | 24.6 | 4.8 | **,* | 24.2 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 56 | 66 | #,## | 8.57 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.8 | 24.7 | 4.7 | 50 | 50 | 50 | 50 | 50 | 56 | 91 | 987 | 534 | 497 | 0.23 | 0.26 | 6.01 | 288.9 | 3050.38 | 5.46 | 267.07 | 2472.73 | 13.16 | 574.83 | 8981.69 | 19 | --,- | --,- | 39 | --,- | 39 | 146030620
2022-02-25 13:34:26 | 17.6 | 23.8 | 2.4 | **,* | 24.3 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 57 | 67 | #,## | 9.72 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 23.9 | 2.4 | 50 | 50 | 50 | 50 | 50 | 57 | 90 | 1057 | 537 | 500 | 0.23 | 0.27 | 4.53 | 283.85 | 3057.11 | 4.14 | 262.19 | 2478.88 | 9.16 | 567.7 | 8995.3 | 19 | --,- | --,- | 44 | --,- | 44 | 146030620
2022-02-26 11:32:19 | 19.1 | 25.2 | 6.8 | **,* | 23.7 | **,* | 46 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 50 | 0 | 100 | 57 | 77 | #,## | 9.84 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 25.1 | 6.9 | 50 | 50 | 50 | 50 | 50 | 57 | 89 | 875 | 285 | 248 | 0.23 | 0.27 | 2.81 | 282.2 | 3064.57 | 2.5 | 260.61 | 2485.68 | 7.01 | 565.89 | 9011.93 | 19 | --,- | --,- | 46 | --,- | 46 | 146030620
2022-02-26 16:19:11 | 18.6 | 24.9 | 3.7 | **,* | 24.4 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 57 | 66 | #,## | 8.01 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.5 | 24.8 | 3.6 | 50 | 50 | 50 | 50 | 50 | 57 | 89 | 1003 | 537 | 500 | 0.22 | 0.26 | 4.26 | 283.66 | 3066.02 | 3.78 | 261.89 | 2486.95 | 11.14 | 570.01 | 9016.05 | 19 | --,- | --,- | 36 | --,- | 36 | 144982044
2022-03-02 18:29:02 | 17.4 | 25.4 | 2.7 | **,* | 24.1 | **,* | 45 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 60 | 68 | #,## | 9.84 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.5 | 25.4 | 2.7 | 50 | 50 | 50 | 50 | 50 | 60 | 88 | 1089 | 536 | 500 | 0.22 | 0.25 | 6.95 | 281.73 | 3103.59 | 6.38 | 259.86 | 2521.49 | 13.86 | 564.33 | 9090.92 | 19 | --,- | --,- | 45 | --,- | 45 | 144982044
2022-03-03 16:34:36 | 18.8 | 25.3 | 5.7 | **,* | 24 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 82 | 0 | 100 | 61 | 70 | #,## | 8.92 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 25.4 | 5.6 | 50 | 50 | 50 | 50 | 50 | 61 | 89 | 945 | 431 | 395 | 0.23 | 0.26 | 4.88 | 276.11 | 3110.69 | 4.39 | 254.31 | 2527.92 | 10.97 | 557.79 | 9106.13 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-03-04 16:39:52 | 16.3 | 24.5 | 2.2 | **,* | 24.4 | **,* | 32 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 61 | 68 | #,## | 7.11 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.4 | 24.5 | 2.3 | 50 | 50 | 50 | 50 | 50 | 61 | 88 | 1062 | 537 | 500 | 0.22 | 0.26 | 5.08 | 271.68 | 3119 | 4.59 | 249.88 | 2535.49 | 11.52 | 553.03 | 9123.67 | 19 | --,- | --,- | 32 | --,- | 32 | 144982044
2022-03-05 12:39:45 | 19.5 | 24.4 | 5.7 | **,* | 24.2 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 67 | 0 | 100 | 62 | 71 | #,## | 9.02 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.4 | 24.4 | 5.8 | 50 | 50 | 50 | 50 | 50 | 62 | 87 | 886 | 377 | 340 | 0.23 | 0.27 | 6.63 | 269.5 | 3129.55 | 6.28 | 247.84 | 2545.45 | 9.47 | 547.84 | 9140.29 | 19 | --,- | --,- | 41 | --,- | 41 | 146030620
2022-03-06 16:52:10 | 19.1 | 25.7 | 4.6 | **,* | 24.7 | **,* | 33 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 96 | 0 | 100 | 63 | 67 | #,## | 7.46 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 25.6 | 4.6 | 50 | 50 | 50 | 50 | 50 | 63 | 89 | 1009 | 525 | 489 | 0.22 | 0.25 | 4.6 | 266.07 | 3138.86 | 4.1 | 244.26 | 2553.87 | 11.16 | 546.86 | 9161.51 | 19 | --,- | --,- | 33 | --,- | 33 | 146030620
2022-03-08 16:53:14 | 14.3 | 23.6 | -1.3 | **,* | 24 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 64 | 70 | #,## | 9.56 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.4 | 23.5 | -1.4 | 50 | 50 | 50 | 50 | 50 | 64 | 91 | 1217 | 537 | 500 | 0.23 | 0.26 | 6.26 | 262.13 | 3155.51 | 5.75 | 240.32 | 2569.05 | 15.54 | 550.98 | 9203.19 | 19 | --,- | --,- | 44 | --,- | 44 | 144982044
2022-03-09 18:05:23 | 14.1 | 24.4 | -1.2 | **,* | 24.6 | **,* | 39 | **,* | 50 | 50 | 5 | 2 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 65 | 71 | #,## | 8.77 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 14.2 | 24.5 | -1.3 | 50 | 50 | 50 | 50 | 50 | 65 | 90 | 1254 | 537 | 500 | 0.23 | 0.26 | 7.6 | 264.37 | 3166.91 | 7.05 | 242.5 | 2579.67 | 15.52 | 555.33 | 9225.74 | 19 | --,- | --,- | 39 | --,- | 39 | 146030620
2022-03-10 17:07:20 | 16.2 | 24.3 | 1.6 | **,* | 24.2 | **,* | 32 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 65 | 68 | #,## | 7.03 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.2 | 24.3 | 1.6 | 50 | 50 | 50 | 50 | 50 | 65 | 89 | 1100 | 537 | 500 | 0.23 | 0.26 | 9.07 | 267.54 | 3179.13 | 8.55 | 245.7 | 2591.18 | 14.53 | 556.71 | 9246.24 | 19 | --,- | --,- | 32 | --,- | 32 | 146030620
2022-03-11 16:45:54 | 18.5 | 25.4 | 4 | **,* | 24 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 66 | 67 | #,## | 7.82 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.3 | 25.2 | 3.9 | 50 | 50 | 50 | 50 | 50 | 66 | 89 | 1025 | 536 | 500 | 0.22 | 0.26 | 6.99 | 269.16 | 3189.79 | 6.49 | 247.33 | 2601.12 | 11.77 | 556.9 | 9264.68 | 19 | --,- | --,- | 36 | --,- | 36 | 144982044
2022-03-11 18:20:39 | 17.6 | 24.2 | 3.2 | **,* | 24.2 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 66 | 66 | #,## | 8.35 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 17.4 | 24.3 | 3.2 | 50 | 50 | 50 | 50 | 50 | 66 | 88 | 1003 | 536 | 500 | 0.22 | 0.25 | 7.83 | 270 | 3190.64 | 7.28 | 248.12 | 2601.91 | 13.36 | 558.49 | 9266.28 | 19 | --,- | --,- | 38 | --,- | 38 | 144982044
2022-03-12 18:27:51 | 18.5 | 25 | 4.2 | **,* | 25 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 67 | 66 | #,## | 8.73 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.4 | 25 | 4.2 | 50 | 50 | 50 | 50 | 50 | 67 | 88 | 982 | 536 | 500 | 0.22 | 0.25 | 5.04 | 268.46 | 3197.95 | 4.48 | 246.57 | 2608.49 | 12.1 | 557.24 | 9282.74 | 19 | --,- | --,- | 38 | --,- | 38 | 146030620
2022-03-13 09:00:40 | 14 | 23.4 | -1.1 | **,* | 23.6 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 67 | 70 | #,## | 7.65 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 13.8 | 23.2 | -1.2 | 50 | 50 | 50 | 50 | 50 | 67 | 90 | 1190 | 537 | 500 | 0.23 | 0.28 | 2.07 | 263.84 | 3202.55 | 1.86 | 242.31 | 2612.7 | 4.65 | 547.33 | 9291.91 | 19 | --,- | --,- | 36 | --,- | 36 | 146030620
2022-03-14 16:35:52 | 19.1 | 25.3 | 10.8 | **,* | 24.9 | **,* | 27 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 37 | 0 | 100 | 68 | 78 | #,## | 6.17 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 25.3 | 10.8 | 50 | 50 | 50 | 50 | 50 | 68 | 86 | 683 | 216 | 180 | 0.22 | 0.25 | 3.19 | 263.04 | 3210.91 | 2.72 | 241.29 | 2620.11 | 7.65 | 547.72 | 9310.9 | 19 | --,- | --,- | 27 | --,- | 27 | 146030620
2022-03-15 18:18:40 | 19 | 24.6 | 6.8 | **,* | 25 | **,* | 37 | **,* | 50 | 50 | 2 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 56 | 0 | 100 | 68 | 74 | #,## | 8.51 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 24.6 | 6.8 | 50 | 50 | 50 | 50 | 50 | 68 | 87 | 838 | 316 | 281 | 0.21 | 0.25 | 4.25 | 261.19 | 3218.08 | 3.67 | 239.36 | 2626.45 | 11.53 | 547.49 | 9328.26 | 19 | --,- | --,- | 37 | --,- | 37 | 144982044
2022-03-16 16:53:41 | 19.1 | 27.1 | 11 | **,* | 26.2 | **,* | 32 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 34 | 0 | 100 | 69 | 81 | #,## | 7.88 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 27.2 | 11 | 50 | 50 | 50 | 50 | 50 | 69 | 89 | 774 | 209 | 173 | 0.22 | 0.25 | 3.9 | 258.29 | 3224.2 | 3.4 | 236.51 | 2631.9 | 10.13 | 544.62 | 9342.63 | 19 | --,- | --,- | 32 | --,- | 32 | 146030620
2022-03-17 16:19:39 | 19.1 | 24.9 | 9.5 | **,* | 24.5 | **,* | 31 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 44 | 0 | 100 | 70 | 77 | #,## | 6.92 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 24.9 | 9.5 | 50 | 50 | 50 | 50 | 50 | 70 | 88 | 731 | 253 | 217 | 0.22 | 0.26 | 3.76 | 255.13 | 3230.17 | 3.28 | 233.38 | 2637.16 | 9.4 | 542.38 | 9357.41 | 19 | --,- | --,- | 31 | --,- | 31 | 146030620
2022-03-21 17:13:05 | 19 | 24.8 | 9.4 | **,* | 24.8 | **,* | 33 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 42 | 0 | 100 | 72 | 77 | #,## | 7.51 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 24.8 | 9.5 | 50 | 50 | 50 | 50 | 50 | 72 | 86 | 705 | 245 | 209 | 0.22 | 0.24 | 2.81 | 235.15 | 3245.84 | 2.33 | 213.96 | 2650.48 | 7.12 | 508.79 | 9393.53 | 19 | --,- | --,- | 33 | --,- | 33 | 146030620
2022-03-22 13:24:11 | 19.4 | 26.6 | 16.2 | **,* | 24.7 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 4 | 0 | 100 | 72 | 96 | #,## | 9.5 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.4 | 26.6 | 16 | 50 | 50 | 50 | 50 | 50 | 72 | 85 | 486 | 56 | 20 | 0.22 | 0.26 | 2.82 | 233.52 | 3250.97 | 2.45 | 212.47 | 2655.03 | 6.76 | 500.03 | 9405.03 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-03-24 16:57:07 | 18.9 | 25.4 | 12 | **,* | 24.4 | **,* | 34 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 32 | 0 | 100 | 74 | 79 | #,## | 7.55 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 25.4 | 11.9 | 50 | 50 | 50 | 50 | 50 | 74 | 86 | 624 | 193 | 157 | 0.21 | 0.25 | 2.36 | 228.17 | 3263.36 | 1.88 | 207.03 | 2665.85 | 7.64 | 488.4 | 9434.34 | 19 | --,- | --,- | 35 | --,- | 35 | 144982044
2022-03-25 18:58:06 | 19.1 | 24.6 | 6.6 | **,* | 23.8 | **,* | 48 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 58 | 0 | 100 | 75 | 74 | #,## | 10.31 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 24.5 | 6.5 | 50 | 50 | 50 | 50 | 50 | 75 | 87 | 843 | 315 | 280 | 0.21 | 0.25 | 3.79 | 224.6 | 3268.98 | 3.22 | 203.41 | 2670.69 | 9.98 | 480.3 | 9448.82 | 19 | --,- | --,- | 48 | --,- | 48 | 146030620
2022-03-26 09:30:10 | 19 | 25 | 6.3 | **,* | 23.9 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 46 | 0 | 100 | 75 | 79 | #,## | 9.07 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 24.8 | 6.2 | 50 | 50 | 50 | 50 | 50 | 75 | 88 | 886 | 266 | 230 | 0.22 | 0.28 | 1.1 | 218.6 | 3271.19 | 0.87 | 197.77 | 2672.51 | 3.94 | 469.7 | 9455.85 | 19 | --,- | --,- | 42 | --,- | 42 | 146030620
2022-03-27 12:30:54 | 19.2 | 25.1 | 6.8 | **,* | 24 | **,* | 44 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 63 | 0 | 100 | 76 | 74 | #,## | 9.56 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.4 | 25 | 7 | 50 | 50 | 50 | 50 | 50 | 76 | 91 | 881 | 340 | 304 | 0.22 | 0.27 | 3.06 | 218.7 | 3280.46 | 2.76 | 197.81 | 2680.98 | 6.99 | 471.21 | 9476.12 | 19 | --,- | --,- | 44 | --,- | 44 | 146030620
2022-03-28 18:23:44 | 18.9 | 25.1 | 6.6 | **,* | 24.9 | **,* | 47 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 55 | 0 | 100 | 76 | 76 | #,## | 10.76 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.8 | 25.2 | 6.5 | 50 | 50 | 50 | 50 | 50 | 76 | 88 | 886 | 314 | 279 | 0.22 | 0.25 | 2.67 | 217.31 | 3287.42 | 2.16 | 196.22 | 2687.01 | 10.45 | 475.03 | 9498.42 | 19 | --,- | --,- | 47 | --,- | 47 | 144982044
2022-03-29 17:55:26 | 16.3 | 24.7 | 0.9 | **,* | 25.1 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 77 | 69 | #,## | 8.79 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.1 | 24.9 | 1 | 50 | 50 | 50 | 50 | 50 | 77 | 89 | 1153 | 536 | 500 | 0.22 | 0.26 | 5.85 | 213.43 | 3295.19 | 5.34 | 192.38 | 2694.07 | 13.62 | 473.76 | 9517.12 | 19 | --,- | --,- | 38 | --,- | 38 | 146030620
2022-03-30 16:29:15 | 18.2 | 24.2 | 3.9 | **,* | 24.7 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 78 | 65 | #,## | 8.81 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.1 | 24.2 | 3.8 | 50 | 50 | 50 | 50 | 50 | 78 | 89 | 982 | 536 | 500 | 0.23 | 0.26 | 4.9 | 214.33 | 3303.51 | 4.45 | 193.34 | 2701.71 | 10.98 | 475.14 | 9535.19 | 19 | --,- | --,- | 39 | --,- | 39 | 146030620
2022-03-31 17:54:36 | 18.2 | 25.4 | 3.9 | **,* | 25.1 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 78 | 67 | #,## | 8.32 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.2 | 25.4 | 3.9 | 50 | 50 | 50 | 50 | 50 | 78 | 88 | 1019 | 536 | 500 | 0.22 | 0.25 | 4.91 | 215.8 | 3312.44 | 4.41 | 194.76 | 2709.86 | 11.5 | 477.63 | 9554.7 | 19 | --,- | --,- | 36 | --,- | 36 | 146030620
2022-04-01 15:59:25 | 19.2 | 24.2 | 10 | **,* | 22.8 | **,* | 30 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 44 | 0 | 100 | 79 | 75 | #,## | 6.09 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 24.2 | 9.8 | 50 | 50 | 50 | 50 | 50 | 79 | 89 | 683 | 256 | 220 | 0.22 | 0.26 | 6.97 | 217.38 | 3323.19 | 6.54 | 196.41 | 2719.94 | 9.4 | 475.41 | 9570.56 | 19 | --,- | --,- | 30 | --,- | 30 | 146030620
2022-04-02 09:03:08 | 16.5 | 23.8 | 1.6 | **,* | 23.9 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 100 | 0 | 100 | 79 | 67 | #,## | 8.22 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 16.5 | 23.9 | 1.8 | 50 | 50 | 50 | 50 | 50 | 79 | 89 | 1068 | 536 | 500 | 0.22 | 0.29 | 2.33 | 215.69 | 3329.6 | 2.16 | 194.98 | 2725.88 | 3.45 | 469.91 | 9582.06 | 19 | --,- | --,- | 38 | --,- | 38 | 144982044
2022-04-03 12:53:18 | 18.6 | 26.7 | 11.2 | **,* | 24 | **,* | 31 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 0 | 0 | 100 | 0 | 100 | #,## | 6.73 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.5 | 26.7 | 11.6 | 50 | 50 | 50 | 50 | 50 | 0 | 46 | 310 | 39 | 0 | 0.24 | 0.21 | 0.4 | 208.14 | 3331.06 | 0 | 187.24 | 2726.4 | 4.83 | 460.99 | 9591.81 | 19 | --,- | --,- | 31 | --,- | 31 | 136462348
2022-04-04 16:10:07 | 18.6 | 26 | 2.5 | **,* | 23.9 | **,* | 34 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 1 | --,- | #,## | 7.34 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.4 | 26.1 | 2.5 | 50 | 50 | 50 | 50 | 50 | 1 | 65 | 683 | 39 | 0 | 0.24 | 0.21 | 0.51 | 197.7 | 3331.96 | 0 | 176.63 | 2726.4 | 5.2 | 448.86 | 9599.21 | 19 | --,- | --,- | 34 | --,- | 34 | 136462348
2022-04-05 16:59:00 | 20.1 | 26 | 0.3 | **,* | 24.5 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 2 | --,- | #,## | 8.05 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.6 | 26 | 0.3 | 50 | 50 | 50 | 50 | 50 | 2 | --,- | 0 | 29 | 0 | 0.18 | 0.2 | 0.53 | 191.46 | 3332.79 | 0 | 170.29 | 2726.4 | 5.38 | 439.74 | 9607.66 | 19 | --,- | --,- | 36 | --,- | 36 | 136462340
2022-04-06 17:09:33 | 19.1 | 27.3 | 5.3 | **,* | 25.3 | **,* | 35 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 0 | 0 | 100 | 3 | 100 | #,## | 8.18 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.6 | 27.4 | 5.3 | 50 | 50 | 50 | 50 | 50 | 3 | --,- | 0 | 28 | 0 | 0.17 | 0.2 | 0.54 | 184.35 | 3333.6 | 0 | 163.11 | 2726.4 | 6.32 | 429.52 | 9617.17 | 19 | --,- | --,- | 35 | --,- | 35 | 136462340
2022-04-08 16:04:08 | 19 | 26 | 9.3 | **,* | 24.2 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 4 | --,- | #,## | 9.23 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.2 | 26 | 9.3 | 50 | 50 | 50 | 50 | 50 | 4 | --,- | 0 | 28 | 0 | 0.18 | 0.2 | 0.49 | 165.09 | 3335.15 | 0 | 143.77 | 2726.4 | 3.78 | 399.56 | 9631.28 | 19 | --,- | --,- | 42 | --,- | 42 | 136462340
2022-04-10 08:53:04 | 19 | 25.2 | 3.4 | **,* | 23.9 | **,* | 41 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 30 | 0 | 100 | 6 | 87 | #,## | 8.86 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.1 | 25.2 | 3.5 | 50 | 50 | 50 | 50 | 50 | 6 | 88 | 1030 | 187 | 150 | 0.23 | 0.23 | 1.5 | 145.78 | 3338.69 | 1.21 | 124.46 | 2728.47 | 8.56 | 394.36 | 9665 | 19 | --,- | --,- | 41 | --,- | 41 | 136462364
2022-04-11 18:08:54 | 19.1 | 27.7 | 10.1 | **,* | 25.8 | **,* | 35 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 0 | 0 | 100 | 7 | 100 | #,## | 8.42 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 27.7 | 10 | 50 | 50 | 50 | 50 | 50 | 7 | 88 | 838 | 37 | 0 | 0.23 | 0.21 | 2.04 | 142.21 | 3342.69 | 1.45 | 120.43 | 2731.28 | 11.95 | 404.41 | 9691.68 | 19 | --,- | --,- | 35 | --,- | 35 | 136462348
2022-04-12 16:39:22 | 18.3 | 26.3 | 14.1 | **,* | 24.8 | **,* | 33 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 0 | 0 | 100 | 7 | 100 | #,## | 7.51 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.8 | 26.3 | 14.1 | 50 | 50 | 50 | 50 | 50 | 7 | 73 | 486 | 36 | 0 | 0.22 | 0.21 | 2.72 | 139.05 | 3346.77 | 2.18 | 117.18 | 2734.56 | 11.61 | 407.12 | 9710.37 | 19 | --,- | --,- | 33 | --,- | 33 | 136462348
2022-04-13 17:10:34 | 19 | 26 | 11.6 | **,* | 24.9 | **,* | 34 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 19 | 0 | 100 | 8 | 87 | #,## | 7.78 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 26.2 | 11.6 | 50 | 50 | 50 | 50 | 50 | 8 | 89 | 689 | 134 | 97 | 0.23 | 0.22 | 3.4 | 137.83 | 3351.65 | 2.81 | 115.77 | 2738.55 | 13.9 | 414.89 | 9731.62 | 19 | --,- | --,- | 34 | --,- | 34 | 136462364
2022-04-14 16:39:54 | 18.8 | 25.9 | 7.5 | **,* | 24.8 | **,* | 49 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 42 | 0 | 100 | 9 | 80 | #,## | 11.14 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 25.9 | 7.4 | 50 | 50 | 50 | 50 | 50 | 9 | 89 | 902 | 251 | 213 | 0.23 | 0.23 | 4.31 | 137.54 | 3357.85 | 3.73 | 115.38 | 2743.88 | 15.66 | 422.18 | 9754.68 | 19 | --,- | --,- | 49 | --,- | 49 | 136462364
2022-04-15 08:31:29 | 18.8 | 25.6 | 4 | **,* | 24 | **,* | 43 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 62 | 0 | 100 | 9 | 77 | #,## | 9.35 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19 | 25.7 | 4 | 50 | 50 | 50 | 50 | 50 | 9 | 90 | 1052 | 339 | 302 | 0.23 | 0.22 | 2.64 | 136.34 | 3362.74 | 2.37 | 114.31 | 2748.19 | 7.8 | 422.48 | 9770.48 | 19 | --,- | --,- | 43 | --,- | 43 | 136462364
2022-04-16 15:03:16 | 18.7 | 25.8 | 12.7 | **,* | 24.4 | **,* | 42 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 19 | 0 | 100 | 10 | 85 | #,## | 9.34 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 25.8 | 13.1 | 50 | 50 | 50 | 50 | 50 | 10 | 85 | 582 | 130 | 93 | 0.23 | 0.23 | 4.61 | 139.08 | 3371.85 | 4.08 | 116.65 | 2756.17 | 12.23 | 434.9 | 9797.74 | 19 | --,- | --,- | 42 | --,- | 42 | 136462364
2022-04-17 17:01:13 | 18.9 | 25.1 | 11 | **,* | 23.6 | **,* | 29 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 29 | 0 | 100 | 11 | 81 | #,## | 6.15 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.8 | 25.2 | 10.9 | 50 | 50 | 50 | 50 | 50 | 11 | 87 | 667 | 189 | 153 | 0.22 | 0.22 | 4.83 | 142.29 | 3379.77 | 4.27 | 119.51 | 2763.15 | 12.77 | 447.64 | 9820.36 | 19 | --,- | --,- | 29 | --,- | 29 | 136462364
2022-04-19 18:05:02 | 19 | 26.6 | 13 | **,* | 25 | **,* | 38 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 22 | 0 | 100 | 13 | 85 | #,## | 8.73 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 26.7 | 13 | 50 | 50 | 50 | 50 | 50 | 13 | 88 | 646 | 143 | 107 | 0.22 | 0.21 | 4.3 | 151.14 | 3394.17 | 3.72 | 127.65 | 2775.8 | 10.25 | 471.07 | 9857.48 | 19 | --,- | --,- | 38 | --,- | 38 | 136462364
2022-04-20 18:05:23 | 18.9 | 26.3 | 13.9 | **,* | 24.6 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 14 | 0 | 100 | 14 | 88 | #,## | 9 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 26.3 | 13.9 | 50 | 50 | 50 | 50 | 50 | 14 | 87 | 576 | 106 | 70 | 0.21 | 0.2 | 3.61 | 151.28 | 3399.43 | 3.04 | 127.66 | 2780.24 | 9.44 | 474.1 | 9872.37 | 19 | --,- | --,- | 40 | --,- | 40 | 136462364
2022-04-22 17:42:56 | 18.9 | 27 | 16.9 | **,* | 25.2 | **,* | 36 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 15 | --,- | #,## | 8.38 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 18.8 | 27 | 16.8 | 50 | 50 | 50 | 50 | 50 | 15 | --,- | 0 | 26 | 0 | 0.16 | 0.2 | 4.14 | 148.79 | 3409.78 | 3.59 | 125 | 2788.97 | 8.61 | 472.63 | 9899.33 | 19 | --,- | --,- | 36 | --,- | 36 | 136462340
2022-04-23 08:53:16 | 18.9 | 24.6 | 10.4 | **,* | 24 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 35 | 0 | 100 | 16 | 79 | #,## | 8.69 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19.1 | 24.6 | 10.4 | 50 | 50 | 50 | 50 | 50 | 16 | 87 | 662 | 206 | 169 | 0.22 | 0.22 | 3.14 | 149.01 | 3414.2 | 2.85 | 125.38 | 2792.84 | 7.24 | 472.39 | 9911.24 | 19 | --,- | --,- | 40 | --,- | 40 | 136462364
2022-04-26 16:31:52 | 18.9 | 25.6 | 15.1 | **,* | 24.9 | **,* | 37 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 0 | 0 | 100 | 18 | 100 | #,## | 8.47 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 18.8 | 25.6 | 15.2 | 50 | 50 | 50 | 50 | 50 | 18 | 83 | 470 | 35 | 0 | 0.21 | 0.21 | 4 | 149.85 | 3434.6 | 3.48 | 125.57 | 2810.42 | 9.7 | 481.99 | 9969.96 | 19 | --,- | --,- | 37 | --,- | 37 | 136462348
2022-04-27 17:51:32 | 18.9 | 26.5 | 9.7 | **,* | 25 | **,* | 33 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 38 | 0 | 100 | 19 | 80 | #,## | 7.59 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 18.9 | 26.5 | 9.8 | 50 | 50 | 50 | 50 | 50 | 19 | 88 | 785 | 232 | 196 | 0.22 | 0.22 | 5.24 | 152.46 | 3441.81 | 4.62 | 127.99 | 2816.71 | 13.48 | 486.35 | 9989.85 | 19 | --,- | --,- | 33 | --,- | 33 | 136462364
2022-04-29 16:08:56 | 18.8 | 25.3 | 14 | **,* | 24.5 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 19 | 0 | 100 | 20 | 83 | #,## | 8.72 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19 | 25.3 | 13.9 | 50 | 50 | 50 | 50 | 50 | 20 | 82 | 502 | 125 | 89 | 0.22 | 0.22 | 5 | 151.16 | 3458.69 | 4.47 | 126.46 | 2831.92 | 11.14 | 486.16 | 10029.36 | 19 | --,- | --,- | 39 | --,- | 39 | 136462364
2022-04-30 12:47:48 | 19.4 | 24.8 | 16.9 | **,* | 23.7 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 3 | 0 | 100 | 21 | 96 | #,## | 8.34 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19.3 | 24.8 | 16.7 | 50 | 50 | 50 | 50 | 50 | 21 | 90 | 384 | 53 | 17 | 0.22 | 0.22 | 4.89 | 150.55 | 3466.76 | 4.46 | 125.84 | 2839.24 | 10.17 | 485.89 | 10047.06 | 19 | --,- | --,- | 39 | --,- | 39 | 136462364
2022-04-30 16:10:37 | 18.8 | 24.5 | 13.8 | **,* | 23.4 | **,* | 27 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 25 | 0 | 100 | 21 | 78 | #,## | 5.67 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 18.9 | 24.6 | 13.9 | 50 | 50 | 50 | 50 | 50 | 21 | 83 | 480 | 161 | 126 | 0.21 | 0.22 | 5.05 | 150.71 | 3466.93 | 4.51 | 125.89 | 2839.3 | 11.12 | 486.84 | 10048.01 | 19 | --,- | --,- | 27 | --,- | 27 | 136462364
2022-05-01 09:05:30 | 19 | 24.4 | 7.6 | **,* | 23.7 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 51 | 0 | 100 | 22 | 75 | #,## | 8.55 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19 | 24.6 | 7.6 | 50 | 50 | 50 | 50 | 50 | 22 | 88 | 811 | 292 | 256 | 0.22 | 0.22 | 3.73 | 145.73 | 3472.99 | 3.43 | 121.02 | 2844.74 | 7.13 | 482.94 | 10061.56 | 19 | --,- | --,- | 40 | --,- | 40 | 136462364
2022-05-02 16:48:41 | 18.8 | 24.8 | 14.6 | **,* | 24.7 | **,* | 35 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 22 | 0 | 100 | 23 | 81 | #,## | 7.92 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19.1 | 24.9 | 14.6 | 50 | 50 | 50 | 50 | 50 | 23 | 85 | 470 | 133 | 98 | 0.21 | 0.22 | 4.85 | 150.39 | 3481.05 | 4.28 | 125.26 | 2851.67 | 11.51 | 495.55 | 10082.54 | 19 | --,- | --,- | 35 | --,- | 35 | 136462364
2022-05-03 16:50:39 | 19.1 | 25.5 | 9.6 | **,* | 24.3 | **,* | 39 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 36 | 0 | 100 | 23 | 80 | #,## | 8.63 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 19.1 | 25.5 | 9.7 | 50 | 50 | 50 | 50 | 50 | 23 | 86 | 731 | 221 | 185 | 0.22 | 0.22 | 3.52 | 154.56 | 3486.01 | 2.95 | 129.37 | 2855.78 | 10.66 | 504.08 | 10098.09 | 19 | --,- | --,- | 39 | --,- | 39 | 136462364
2022-05-04 17:12:59 | 18.9 | 26.1 | 12.3 | **,* | 24.4 | **,* | 34 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 27 | 0 | 100 | 24 | 82 | #,## | 7.55 | STANDBY | 0:00-0:00 | STANDBY 0:00 | NORMAL | 18.9 | 26.1 | 12.3 | 50 | 50 | 50 | 50 | 50 | 24 | 85 | 641 | 180 | 145 | 0.21 | 0.21 | 4.83 | 161.17 | 3493.44 | 4.26 | 135.93 | 2862.34 | 10.96 | 513.43 | 10115.71 | 19 | --,- | --,- | 34 | --,- | 34 | 136462364
2022-05-06 16:30:03 | 20.9 | 25.7 | 19.9 | **,* | 24.3 | **,* | 40 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 26 | --,- | #,## | 8.85 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 21.1 | 25.8 | 19.8 | 50 | 50 | 50 | 50 | 50 | 26 | --,- | 0 | 26 | 0 | 0.16 | 0.23 | 1.35 | 168.24 | 3502.11 | 0.93 | 143.25 | 2869.65 | 3.29 | 516.27 | 10136.09 | 19 | --,- | --,- | 40 | --,- | 40 | 146030596
2022-05-08 15:59:18 | 18.8 | 24.5 | 14.6 | **,* | 24.1 | **,* | 47 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 19 | 0 | 100 | 27 | 82 | #,## | 10.27 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 24.5 | 14.8 | 50 | 50 | 50 | 50 | 50 | 27 | 80 | 427 | 119 | 83 | 0.21 | 0.24 | 1.95 | 171.92 | 3507.39 | 1.51 | 147.19 | 2873.6 | 5.34 | 515.05 | 10151.21 | 19 | --,- | --,- | 47 | --,- | 47 | 146030620
2022-05-09 19:42:19 | 19 | 24.7 | 11.5 | **,* | 23.9 | **,* | 48 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 100 | 0 | 34 | 0 | 100 | 28 | 78 | #,## | 10.38 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 18.9 | 24.8 | 11.5 | 50 | 50 | 50 | 50 | 50 | 28 | 85 | 608 | 211 | 175 | 0.22 | 0.24 | 3.27 | 175.11 | 3512.3 | 2.67 | 150.4 | 2877.67 | 8.64 | 507.95 | 10164.39 | 19 | --,- | --,- | 48 | --,- | 48 | 144982044
2022-05-10 16:36:33 | 19.3 | 25.7 | 17.6 | **,* | 23.9 | **,* | 25 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 28 | --,- | #,## | 5.4 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 25.6 | 17.6 | 50 | 50 | 50 | 50 | 50 | 28 | --,- | 0 | 27 | 0 | 0.16 | 0.23 | 1.68 | 174.03 | 3514.67 | 1.25 | 149.65 | 2879.48 | 4.07 | 490.61 | 10170.34 | 19 | --,- | --,- | 25 | --,- | 25 | 146030596
2022-05-10 16:58:51 | 19.2 | 25.6 | 17.8 | **,* | 24.1 | **,* | 32 | **,* | 50 | 50 | 0 | 0 | 50 | 50 | **,* | **,* | 0 | 0 | 0 | 0 | 100 | 28 | --,- | #,## | 7 | NORMAL | 7:00-22:00 | AWAY 22:00 | NORMAL | 19.2 | 25.7 | 17.8 | 50 | 50 | 50 | 50 | 50 | 28 | --,- | 0 | 27 | 0 | 0.16 | 0.23 | 1.7 | 174.04 | 3514.68 | 1.25 | 149.65 | 2879.48 | 4.07 | 490.61 | 10170.34 | 19 | --,- | --,- | 32 | --,- | 32 | 146030596
2022-05-10 17:45:01 | 18.9 | 26.1 | 17.1 | , | 24.4 | , | 36 | , | 50 | 50 | 0 | 0 | 50 | 50 | , | , | 0 | 0 | 0 | 0 | 100 | 28 | , | , | 8.01 |  | 7002200 | 2200 |  | 18.8 | 26 | 17.1 | 50 | 50 | 50 | 50 | 50 | 28 | , | 0 | 26 | 0 | 0.16 | 0.23 | 1.72 | 174.06 | 3514.7 | 1.25 | 149.65 | 2879.48 | 4.08 | 490.61 | 10170.34 | 19 | , | , | 36 | , | 36 | 144982020
2022-05-10 18:37:14 | 19.6 | 26.4 | 17.3 | . | 24.6 | . | 41 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 0 | 0 | 100 | 28 | 100 | . | 9.22 |  | 7002200 | 2200 |  | 19.6 | 26.3 | 17.3 | 50 | 50 | 50 | 50 | 50 | 28 | 66 | 320 | 36 | 0 | 0.21 | 0.23 | 1.74 | 174.08 | 3514.73 | 1.25 | 149.65 | 2879.48 | 4.11 | 490.64 | 10170.38 | 19.0 | . | . | 41 | . | 41 | 146030604
2022-05-11 16:48:06 | 19.4 | 25.3 | 17.7 | . | 24.2 | . | 43 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 29 | . | . | 9.46 |  | 7002200 | 2200 |  | 19.4 | 25.3 | 17.8 | 50 | 50 | 50 | 50 | 50 | 29 | . | 0 | 26 | 0 | 0.16 | 0.24 | 1.94 | 173.04 | 3517.09 | 1.47 | 148.84 | 2881.23 | 5.51 | 478.60 | 10177.36 | 19.0 | . | . | 43 | . | 43 | 146030596
2022-05-12 08:54:32 | 18.9 | 24.7 | 10.9 | . | 23.9 | . | 48 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 38 | 0 | 100 | 29 | 77 | . | 10.38 |  | 7002200 | 2200 |  | 19.0 | 24.7 | 10.8 | 50 | 50 | 50 | 50 | 50 | 29 | 86 | 651 | 220 | 186 | 0.21 | 0.28 | 0.91 | 170.36 | 3518.62 | 0.70 | 146.60 | 2882.34 | 2.30 | 464.04 | 10181.76 | 19.0 | . | . | 48 | . | 48 | 144982044
2022-05-12 16:46:51 | 18.9 | 25.0 | 13.8 | . | 24.1 | . | 54 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 25 | 0 | 100 | 29 | 79 | . | 11.81 |  | 7002200 | 2200 |  | 18.8 | 25.0 | 13.7 | 50 | 50 | 50 | 50 | 50 | 29 | 84 | 507 | 166 | 131 | 0.21 | 0.25 | 2.35 | 171.81 | 3520.06 | 1.86 | 147.76 | 2883.50 | 6.55 | 468.29 | 10186.01 | 19.0 | . | . | 54 | . | 54 | 144982044
2022-05-13 15:04:21 | 21.3 | 25.4 | 19.9 | . | 24.1 | . | 41 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 30 | . | . | 8.97 |  | 7002200 | 2200 |  | 21.3 | 25.3 | 20.2 | 50 | 50 | 50 | 50 | 50 | 30 | . | 0 | 26 | 0 | 0.16 | 0.24 | 1.12 | 168.68 | 3522.21 | 0.74 | 144.90 | 2885.05 | 2.88 | 453.18 | 10192.20 | 19.0 | . | . | 41 | . | 41 | 146030596
2022-05-15 08:44:43 | 18.7 | 24.1 | 11.5 | . | 23.9 | . | 47 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 37 | 0 | 100 | 31 | 75 | . | 10.15 |  | 7002200 | 2200 |  | 18.9 | 24.1 | 11.6 | 50 | 50 | 50 | 50 | 50 | 31 | 85 | 571 | 215 | 180 | 0.21 | 0.28 | 0.85 | 160.07 | 3527.31 | 0.66 | 136.89 | 2888.97 | 2.10 | 421.40 | 10206.91 | 19.0 | . | . | 47 | . | 47 | 144982044
2022-05-16 18:03:04 | 19.0 | 25.0 | 14.3 | . | 24.5 | . | 43 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 21 | 0 | 100 | 32 | 81 | . | 9.61 |  | 7002200 | 2200 |  | 19.0 | 25.0 | 14.4 | 50 | 50 | 50 | 50 | 50 | 32 | 83 | 475 | 140 | 105 | 0.21 | 0.23 | 1.64 | 155.65 | 3530.58 | 1.15 | 132.40 | 2891.28 | 4.39 | 408.73 | 10216.31 | 19.0 | . | . | 43 | . | 43 | 146030620
2022-05-17 17:40:46 | 18.9 | 24.4 | 12.1 | . | 23.7 | . | 52 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 33 | 0 | 100 | 33 | 77 | . | 11.11 |  | 7002200 | 2200 |  | 19.0 | 24.3 | 12.3 | 50 | 50 | 50 | 50 | 50 | 33 | 84 | 550 | 200 | 164 | 0.22 | 0.25 | 3.03 | 152.04 | 3534.44 | 2.50 | 128.95 | 2894.43 | 8.16 | 399.38 | 10226.98 | 19.0 | . | . | 52 | . | 52 | 146030620
2022-05-18 12:34:48 | 20.6 | 24.6 | 19.3 | . | 23.3 | . | 41 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 33 | . | . | 8.56 |  | 7002200 | 2200 |  | 20.4 | 24.6 | 19.2 | 50 | 50 | 50 | 50 | 50 | 33 | . | 0 | 27 | 0 | 0.16 | 0.26 | 1.44 | 147.01 | 3536.89 | 1.12 | 124.28 | 2896.36 | 3.72 | 386.33 | 10233.56 | 19.0 | . | . | 40 | . | 40 | 144982020
2022-05-18 17:01:42 | 18.9 | 25.7 | 17.2 | . | 24.1 | . | 42 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 33 | . | . | 9.18 |  | 7002200 | 2200 |  | 19.0 | 25.8 | 17.3 | 50 | 50 | 50 | 50 | 50 | 33 | . | 0 | 26 | 0 | 0.15 | 0.23 | 1.56 | 147.13 | 3537.01 | 1.12 | 124.28 | 2896.36 | 3.73 | 386.34 | 10233.56 | 19.0 | . | . | 42 | . | 42 | 144982020
2022-05-19 17:54:36 | 19.2 | 26.4 | 17.1 | . | 24.7 | . | 53 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 34 | . | . | 11.98 |  | 7002200 | 2200 |  | 19.2 | 26.4 | 17.0 | 50 | 50 | 50 | 50 | 50 | 34 | . | 0 | 26 | 0 | 0.16 | 0.22 | 1.05 | 142.87 | 3538.69 | 0.60 | 120.19 | 2897.39 | 2.54 | 375.36 | 10238.29 | 19.0 | . | . | 53 | . | 53 | 144982020
2022-05-20 16:42:14 | 19.1 | 24.0 | 13.2 | . | 23.5 | . | 45 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 28 | 0 | 100 | 35 | 78 | . | 9.51 |  | 7002200 | 2200 |  | 19.0 | 23.9 | 13.0 | 50 | 50 | 50 | 50 | 50 | 35 | 85 | 491 | 177 | 141 | 0.22 | 0.25 | 2.12 | 140.31 | 3541.15 | 1.64 | 117.80 | 2899.19 | 6.13 | 368.85 | 10245.88 | 19.0 | . | . | 45 | . | 45 | 146030620
2022-05-24 17:06:48 | 23.7 | 26.5 | 22.7 | . | 24.4 | . | 33 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 37 | . | . | 7.34 |  | 7002200 | 2200 |  | 23.9 | 26.5 | 22.8 | 50 | 50 | 50 | 50 | 50 | 37 | . | 0 | 26 | 0 | 0.16 | 0.22 | 0.91 | 125.40 | 3548.86 | 0.49 | 103.66 | 2904.34 | 2.01 | 326.82 | 10267.42 | 19.0 | . | . | 33 | . | 33 | 146030596
2022-05-25 17:44:46 | 20.8 | 25.7 | 19.5 | . | 24.3 | . | 42 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 38 | . | . | 9.28 |  | 7002200 | 2200 |  | 20.7 | 25.7 | 19.6 | 50 | 50 | 50 | 50 | 50 | 38 | . | 0 | 25 | 0 | 0.15 | 0.19 | 0.53 | 118.95 | 3549.54 | 0.13 | 97.53 | 2904.48 | 1.17 | 308.34 | 10268.61 | 19.0 | . | . | 42 | . | 42 | 146030596
2022-05-29 15:57:30 | 19.4 | 25.1 | 17.9 | . | 22.8 | . | 43 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 40 | . | . | 8.72 |  | 7002200 | 2200 |  | 19.4 | 25.2 | 17.9 | 50 | 50 | 50 | 50 | 50 | 40 | . | 0 | 26 | 0 | 0.16 | 0.23 | 0.37 | 89.49 | 3551.36 | 0.10 | 70.19 | 2904.97 | 1.36 | 237.04 | 10273.93 | 19.0 | . | . | 43 | . | 43 | 146030596
2022-05-30 16:30:54 | 21.4 | 25.5 | 20.2 | . | 23.7 | . | 50 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 40 | . | . | 10.68 |  | 7002200 | 2200 |  | 21.4 | 25.5 | 20.3 | 50 | 50 | 50 | 50 | 50 | 40 | . | 0 | 26 | 0 | 0.16 | 0.23 | 1.30 | 84.04 | 3553.31 | 0.88 | 64.94 | 2906.25 | 3.27 | 225.10 | 10279.54 | 19.0 | . | . | 50 | . | 50 | 146030596
2022-05-31 17:33:07 | 19.1 | 24.8 | 13.2 | . | 23.8 | . | 54 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 29 | 0 | 100 | 41 | 78 | . | 11.60 |  | 7002200 | 2200 |  | 19.2 | 24.7 | 13.2 | 50 | 50 | 50 | 50 | 50 | 41 | 88 | 555 | 172 | 136 | 0.22 | 0.20 | 1.82 | 79.12 | 3555.32 | 1.36 | 60.23 | 2907.62 | 5.48 | 214.66 | 10285.68 | 19.0 | . | . | 54 | . | 54 | 146030620
2022-06-01 12:49:56 | 21.2 | 25.0 | 20.5 | . | 24.3 | . | 47 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 41 | . | . | 10.39 |  | 7002200 | 2200 |  | 21.1 | 25.1 | 20.3 | 50 | 50 | 50 | 50 | 50 | 41 | . | 0 | 27 | 0 | 0.16 | 0.25 | 1.08 | 74.92 | 3557.42 | 0.76 | 56.36 | 2909.19 | 2.85 | 204.06 | 10291.49 | 19.0 | . | . | 47 | . | 47 | 144982020
2022-06-02 16:24:45 | 19.0 | 24.1 | 14.1 | . | 24.1 | . | 48 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 26 | 0 | 100 | 42 | 78 | . | 10.50 |  | 7002200 | 2200 |  | 18.7 | 24.2 | 14.1 | 50 | 50 | 50 | 50 | 50 | 42 | 87 | 464 | 170 | 134 | 0.22 | 0.19 | 1.70 | 70.78 | 3559.38 | 1.28 | 52.40 | 2910.48 | 5.19 | 191.93 | 10296.69 | 19.0 | . | . | 48 | . | 48 | 144982044
2022-06-03 10:33:24 | 18.8 | 24.6 | 15.9 | . | 23.7 | . | 49 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 100 | 0 | 2 | 0 | 100 | 43 | 98 | . | 10.47 |  | 7002200 | 2200 |  | 18.7 | 24.6 | 15.9 | 50 | 50 | 50 | 50 | 50 | 43 | 85 | 400 | 52 | 17 | 0.21 | 0.26 | 0.66 | 64.85 | 3561.13 | 0.40 | 46.82 | 2911.72 | 2.79 | 180.52 | 10302.82 | 19.0 | . | . | 50 | . | 50 | 146030620
2022-06-05 18:20:46 | 22.5 | 26.3 | 21.2 | . | 25.1 | . | 46 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 44 | . | . | 10.64 |  | 7002200 | 2200 |  | 22.5 | 26.3 | 21.2 | 50 | 50 | 50 | 50 | 50 | 44 | . | 0 | 26 | 0 | 0.16 | 0.20 | 0.55 | 60.76 | 3563.36 | 0.12 | 42.58 | 2912.53 | 1.52 | 172.82 | 10310.49 | 19.0 | . | . | 46 | . | 46 | 146030596
2022-06-06 09:15:53 | 20.7 | 25.7 | 19.4 | . | 24.5 | . | 37 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 45 | . | . | 8.27 |  | 7002200 | 2200 |  | 20.7 | 25.6 | 19.3 | 50 | 50 | 50 | 50 | 50 | 45 | . | 0 | 26 | 0 | 0.16 | 0.21 | 0.23 | 58.28 | 3563.71 | 0.06 | 40.50 | 2912.59 | 0.92 | 165.60 | 10311.47 | 19.0 | . | . | 37 | . | 37 | 146030596
2022-06-06 17:54:14 | 21.3 | 26.3 | 19.9 | . | 24.8 | . | 39 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 45 | . | . | 8.86 |  | 7002200 | 2200 |  | 21.2 | 26.2 | 19.8 | 50 | 50 | 50 | 50 | 50 | 45 | . | 0 | 26 | 0 | 0.16 | 0.19 | 0.46 | 58.51 | 3563.94 | 0.06 | 40.50 | 2912.59 | 0.92 | 165.60 | 10311.47 | 19.0 | . | . | 39 | . | 39 | 144982020
2022-06-07 09:11:43 | 21.2 | 26.4 | 20.3 | . | 24.4 | . | 39 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 45 | . | . | 8.68 |  | 7002200 | 2200 |  | 21.3 | 26.4 | 20.4 | 50 | 50 | 50 | 50 | 50 | 45 | . | 0 | 26 | 0 | 0.16 | 0.26 | 0.34 | 55.39 | 3564.42 | 0.14 | 37.74 | 2912.74 | 1.54 | 157.37 | 10313.12 | 19.0 | . | . | 39 | . | 39 | 146030596
2022-06-08 09:50:23 | 20.7 | 25.8 | 19.4 | . | 24.8 | . | 53 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 46 | . | . | 12.06 |  | 7002200 | 2200 |  | 20.8 | 25.8 | 19.4 | 50 | 50 | 50 | 50 | 50 | 46 | . | 0 | 26 | 0 | 0.16 | 0.15 | 0.14 | 51.95 | 3564.94 | 0.00 | 34.50 | 2912.74 | 0.00 | 147.15 | 10313.41 | 19.0 | . | . | 53 | . | 53 | 144982020
2022-06-08 17:29:05 | 22.3 | 27.2 | 21.2 | . | 24.6 | . | 52 | . | 50 | 50 | 0 | 0 | 50 | 50 | . | . | 0 | 0 | 0 | 0 | 100 | 46 | . | . | 11.69 |  | 7002200 | 2200 |  | 22.2 | 27.2 | 21.2 | 50 | 50 | 50 | 50 | 50 | 46 | . | 0 | 26 | 0 | 0.16 | 0.16 | 0.34 | 52.15 | 3565.14 | 0.00 | 34.50 | 2912.74 | 0.01 | 147.15 | 10313.42 | 19.0 | . | . | 52 | . | 52 | 144982020